## Quotation
STARFOX SECURITY
CCTV & Smart Home Security Systems
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com
QUOTATION |  |  | Date: 2026-06-09 ¦ 30-day retention
Customer: Al Thani Villa
System: 8 x 2MP IR Fixed Bullet Network Camera
# | Model | Image | Description | Qty | Unit Price (QAR) | Amount (QAR)
1 | 2MP IR Fixed Bullet Network Camera |  | 2MP bullet camera, H.265, Built-in IR (30m), 12V DC/PoE, IP67, IK10, WDR, vandal-proof | 8 | 350 | 2800
2 | 16 Channel 4K NVR (MOI Compliant) |  | 16ch NVR, 2 HDD bays up to 16TB each, RAID 0/1/5, H.265, P2P, AI by Camera, 4K output | 1 | 4500 | 4500
3 | 8TB Surveillance HDD |  | 8TB SATA III, 24/7 continuous recording, 256MB cache, 3-year warranty x 1 | 1 | 1350 | 1350
4 | 16-Port Gigabit PoE+ Switch |  | 16-port Gigabit PoE+, 2 Hi-PoE up to 60W, 360W total, VLAN, PoE management x 1 | 1 | 600 | 600
5 | 18U Floor Mount Rack with Wheels |  | 18U standard server rack, tempered glass door, casters, cooling fans | 1 | 1150 | 1150
6 | 23.8 inch Full HD LED Monitor |  | 23.8" Full HD 1920x1080, HDMI/VGA, slim bezel, suitable for 9-camera split view | 1 | 445 | 445
7 | 1KVA Rack-Type Online UPS |  | 1KVA/900W online double-conversion UPS, 1U rack, LCD, pure sine wave, 1hr runtime for basic system | 1 | 1200 | 1200
8 | External Battery Pack for 1KVA UPS |  | External battery for 1KVA Rack-Type Online UPS, 1 units for minimum 1hr runtime | 1 | 900 | 900
9 | Wall Mount Camera Bracket |  | Mounting brackets for 8 cameras | 8 | 100 | 800
10 | CAT6 UTP Patch Cord |  | CAT6 patch cords for connections | 12 | 7 | 84
11 | Camera Installation & Cabling |  | Professional installation, cabling, conduit, configuration for 8 cameras | 8 | 400 | 3200
12 | NVR Configuration & Setup |  | NVR RAID setup, network configuration, system commissioning | 1 | 1000 | 1000
Subtotal |  |  |  |  | 18029
GRAND TOTAL |  |  |  |  | 18029
TERMS & CONDITIONS:
1. All the above prices are in QAR (Qatari Riyals)
2. Terms of payment: 50% upon signing the contract as downpayment and 50% before installation and handover
3. Warranty: 2 YEARS for NVR and Cameras
4. Any changes or addition of cameras as recommended will be quoted separately
5. Any civil, mechanical, and electrical work if any will be charged accordingly
6. Materials prices may vary at the time of installation due to current regional situation
7. This quotation is subject to STARFOX standard terms and conditions which are available on request
8. Price and specifications may change without prior notice
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com