## Quotation
STARFOX SECURITY
CCTV & Smart Home Security Systems — MOI SSD Compliant (Law No. 9/2011)
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com
QUOTATION |  |  | Date: 2026-06-08 ¦ 120-day retention ¦ RAID 5
Customer: Grand Mosque
System: 16 x 2MP IR Fixed Bullet Network Camera
# | Model | Description | Qty | Unit Price (QAR) | Amount (QAR)
1 | 2MP IR Fixed Bullet Network Camera | 2MP bullet camera, H.265, Built-in IR (30m), 12V DC/PoE, IP67, IK10, WDR, vandal-proof | 16 | 350 | 5600
2 | 32 Channel 4K NVR (MOI Compliant) | 32ch NVR, 4 HDD bays up to 16TB each, RAID 0/1/5, H.265, P2P, AI by Camera, 4K output | 1 | 6500 | 6500
3 | 16TB Surveillance HDD | 16TB SATA III, 24/7 continuous recording, 512MB cache, 5-year warranty x 4 (RAID 5 configured) | 4 | 2100 | 8400
4 | 24-Port Gigabit PoE+ Switch | 24-port Gigabit PoE+, 4 SFP uplinks, 400W budget, Layer 2 managed x 1 | 1 | 1200 | 1200
5 | 18U Floor Mount Rack with Wheels | 18U standard server rack, tempered glass door, casters, cooling fans | 1 | 1150 | 1150
6 | 32 inch Full HD LED Monitor | 32" Full HD 1920x1080, HDMI/VGA, suitable for 16-camera split view | 1 | 950 | 950
7 | Dell OptiPlex CCTV Workstation | Dell OptiPlex, i5, 16GB RAM, 512GB SSD + 2TB HDD, dual monitor support, VMS preloaded | 1 | 4200 | 4200
8 | 2KVA Rack-Type Online UPS | 2KVA/1800W online double-conversion UPS, 2U rack, LCD, pure sine wave, 1hr runtime for mid system | 1 | 1450 | 1450
9 | 48V Battery Cabinet for 2KVA UPS | External battery for 2KVA Rack-Type Online UPS, 2 units for minimum 1hr runtime | 2 | 1100 | 2200
10 | Wall Mount Camera Bracket | Mounting brackets for 16 cameras | 16 | 100 | 1600
11 | CAT6 UTP Patch Cord | CAT6 patch cords for connections | 20 | 7 | 140
12 | 1U Rack PDU (8 Outlet) | 1U 8-outlet PDU with surge protection, 16A, C13 outlets | 1 | 65 | 65
13 | 24-Port CAT6 Patch Panel | 24-port CAT6 UTP patch panel, 1U, T568A/B, color-coded | 1 | 145 | 145
14 | 1U Horizontal Cable Manager | 1U horizontal cable management panel with fingers | 1 | 50 | 50
15 | Camera Installation & Cabling | Professional installation, cabling, conduit, configuration for 16 cameras | 16 | 400 | 6400
16 | NVR Configuration & Setup | NVR RAID setup, network configuration, system commissioning | 1 | 1000 | 1000
17 | DSA/DIA Drawings, Documentation & Approvals | Full DSA/DIA CAD drawings, SSD portal submission, design approval, inspection coordination, 1-year AMC | 1 | 10000 | 10000
18 | Annual Maintenance Contract (AMC) | 12-month AMC including cleaning, firmware updates, health checks, MOI compliance, repairs (16 cameras) | 1 | 2700 | 2700
Subtotal |  |  |  | 53750
GRAND TOTAL |  |  |  | 53750
TERMS & CONDITIONS:
1. All the above prices are in QAR (Qatari Riyals)
2. Terms of payment: 50% upon signing the contract, 50% before installation and handover
3. Warranty: 2 YEARS for NVR and Cameras
4. System designed and installed per MOI SSD requirements (Law No. 9 of 2011)
5. Storage retention: 120 days continuous recording with RAID 5 configuration
6. System includes minimum 1-hour UPS backup as per MOI requirements
7. Annual Maintenance Contract (AMC) is mandatory for MOI compliance
8. Any changes or additions must be approved via MOI SSD portal
9. Any civil, mechanical, and electrical work if any will be charged accordingly
10. Materials prices may vary at the time of installation due to current regional situation
11. This quotation is subject to STARFOX standard terms and conditions
12. Price and specifications may change without prior notice
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com