## Quotation
STARFOX SECURITY
CCTV & Smart Home Security Systems — MOI SSD Compliant (Law No. 9/2011)
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com
QUOTATION |  |  | Date: 2026-06-09 ¦ 120-day retention ¦ RAID 5
Customer: Test
System: 8 x 2MP IR Fixed Bullet Network Camera
# | Model | Image | Description | Qty | Unit Price (QAR) | Amount (QAR)
1 | 2MP IR Fixed Bullet Network Camera |  | 2MP bullet camera, H.265, Built-in IR (30m), 12V DC/PoE, IP67, IK10, WDR, vandal-proof | 8 | 350 | 2800
2 | 16 Channel 4K NVR (MOI Compliant) |  | 16ch NVR, 2 HDD bays up to 16TB each, RAID 0/1/5, H.265, P2P, AI by Camera, 4K output | 1 | 4500 | 4500
3 | 16TB Surveillance HDD |  | 16TB SATA III, 24/7 continuous recording, 512MB cache, 5-year warranty x 3 (RAID 5 configured) | 3 | 2100 | 6300
4 | 16-Port Gigabit PoE+ Switch |  | 16-port Gigabit PoE+, 2 Hi-PoE up to 60W, 360W total, VLAN, PoE management x 1 | 1 | 600 | 600
5 | 18U Floor Mount Rack with Wheels |  | 18U standard server rack, tempered glass door, casters, cooling fans | 1 | 1150 | 1150
6 | 23.8 inch Full HD LED Monitor |  | 23.8" Full HD 1920x1080, HDMI/VGA, slim bezel, suitable for 9-camera split view | 1 | 445 | 445
7 | 1KVA Rack-Type Online UPS |  | 1KVA/900W online double-conversion UPS, 1U rack, LCD, pure sine wave, 1hr runtime for basic system | 1 | 1200 | 1200
8 | External Battery Pack for 1KVA UPS |  | External battery for 1KVA Rack-Type Online UPS, 1 units for minimum 1hr runtime | 1 | 900 | 900
9 | Wall Mount Camera Bracket |  | Mounting brackets for 8 cameras | 8 | 100 | 800
10 | CAT6 UTP Patch Cord |  | CAT6 patch cords for connections | 12 | 7 | 84
11 | Camera Installation & Cabling |  | Professional installation, cabling, conduit, configuration for 8 cameras | 8 | 400 | 3200
12 | NVR Configuration & Setup |  | NVR RAID setup, network configuration, system commissioning | 1 | 1000 | 1000
13 | DSA/DIA Approvals (Small Project) |  | DSA/DIA documentation and approval for projects under 10 cameras | 1 | 5000 | 5000
14 | Annual Maintenance Contract (AMC) |  | 12-month AMC including cleaning, firmware updates, health checks, MOI compliance, repairs (8 cameras) | 1 | 2100 | 2100
Subtotal |  |  |  |  | 30079
GRAND TOTAL |  |  |  |  | 30079
TERMS & CONDITIONS:
1. All the above prices are in QAR (Qatari Riyals)
2. Terms of payment: 50% upon signing the contract, 50% before installation and handover
3. Warranty: 2 YEARS for NVR and Cameras
4. System designed and installed per MOI SSD requirements (Law No. 9 of 2011)
5. Storage retention: 120 days continuous recording with RAID 5 configuration
6. System includes minimum 1-hour UPS backup as per MOI requirements
7. Annual Maintenance Contract (AMC) is mandatory for MOI compliance
8. Any changes or additions must be approved via MOI SSD portal
9. Any civil, mechanical, and electrical work if any will be charged accordingly
10. Materials prices may vary at the time of installation due to current regional situation
11. This quotation is subject to STARFOX standard terms and conditions
12. Price and specifications may change without prior notice
Salwa Road, Doha, Qatar ¦ Tel: +974 44691741 ¦ info@starfoxsecu.com ¦ www.starfoxsecu.com